Tyler B. Smith.  10/24/19

The 67 m and 100 m loggers were put in the opposite spot on deployment.

Swapped names for BT_TCCB90_1811_1910_a & b.csv/hobo

And BT_TCCB60_1811_1910_a & b.csv/hobo

Also changed site names to TCCB99 and TCCB67

Need to update the metadata so that the logger serial numbers match the data file.

TCCB99 was recording at :30, non-offset.  Visually inspected the difference and looked okay.  Averaged data between loggers for each time point.