﻿Details

Series: Temp, °C

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 20719650

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 10/08/19 10:37:13 PM GMT-04:00

Deployment Info

• Full Series Name: Temperature, °C

• Launch Name: BT_TCBKPT_200519_

• Deployment Number: 3

• Launch Time: 05/18/20 10:12:32 AM GMT-04:00

• Logging Interval: 00 Hr 15 Min 00 Sec

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.46 Volts

• Launching Program: HOBOware -3.7.17_0628_0951_Windows

Series Statistics

• Samples: 19,717

• Max: 34.281

• Min: 22.920

• Avg: 28.911

• Std Dev (σ): 1.382

• First Sample Time: 05/19/20 08:00:00 AM GMT-04:00

• Last Sample Time: 12/10/20 05:00:00 PM GMT-04:00

Event Type: Coupler Detached

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 20719650

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 10/08/19 10:37:13 PM GMT-04:00

Deployment Info

• Full Series Name: Coupler Detached

• Launch Name: BT_TCBKPT_200519_

• Deployment Number: 3

• Launch Time: 05/18/20 10:12:32 AM GMT-04:00

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.46 Volts

Series Statistics

• Samples: 1

• First Sample Time: 05/19/20 08:00:00 AM GMT-04:00

• Last Sample Time: 05/19/20 08:00:00 AM GMT-04:00

Event Type: Coupler Attached

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 20719650

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 10/08/19 10:37:13 PM GMT-04:00

Deployment Info

• Full Series Name: Coupler Attached

• Launch Name: BT_TCBKPT_200519_

• Deployment Number: 3

• Launch Time: 05/18/20 10:12:32 AM GMT-04:00

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.46 Volts

Series Statistics

• Samples: 1

• First Sample Time: 12/10/20 05:14:27 PM GMT-04:00

• Last Sample Time: 12/10/20 05:14:27 PM GMT-04:00

Event Type: Host Connected

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 20719650

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 10/08/19 10:37:13 PM GMT-04:00

Deployment Info

• Full Series Name: Host Connected

• Launch Name: BT_TCBKPT_200519_

• Deployment Number: 3

• Launch Time: 05/18/20 10:12:32 AM GMT-04:00

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.46 Volts

Series Statistics

• Samples: 1

• First Sample Time: 12/10/20 05:14:27 PM GMT-04:00

• Last Sample Time: 12/10/20 05:14:27 PM GMT-04:00

Event Type: Stopped

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 20719650

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 10/08/19 10:37:13 PM GMT-04:00

Deployment Info

• Full Series Name: Stopped

• Launch Name: BT_TCBKPT_200519_

• Deployment Number: 3

• Launch Time: 05/18/20 10:12:32 AM GMT-04:00

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.46 Volts

Series Statistics

• Samples: 1

• First Sample Time: 12/10/20 05:14:50 PM GMT-04:00

• Last Sample Time: 12/10/20 05:14:50 PM GMT-04:00

Event Type: End Of File

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 20719650

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 10/08/19 10:37:13 PM GMT-04:00

Deployment Info

• Full Series Name: End Of File

• Launch Name: BT_TCBKPT_200519_

• Deployment Number: 3

• Launch Time: 05/18/20 10:12:32 AM GMT-04:00

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.46 Volts

Series Statistics

• Samples: 1

• First Sample Time: 12/10/20 05:14:50 PM GMT-04:00

• Last Sample Time: 12/10/20 05:14:50 PM GMT-04:00