﻿Details

Series: Temp, °C

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 10605979

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 09/22/14 02:52:47 PM GMT-04:00

Deployment Info

• Full Series Name: Temperature, °C

• Launch Name: BT_TCBOTB_1908

• Deployment Number: 12

• Launch Time: 08/19/19 03:21:21 PM GMT-04:00

• Logging Interval: 00 Hr 15 Min 00 Sec

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.51 Volts

• Launching Program: HOBOware -3.7.14_0315_0933_Windows

Series Statistics

• Samples: 43,448

• Max: 30.394

• Min: 26.207

• Avg: 28.544

• Std Dev (σ): 1.066

• First Sample Time: 08/22/19 09:00:00 AM GMT-04:00

• Last Sample Time: 11/16/20 10:45:00 PM GMT-04:00

Event Type: Coupler Detached

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 10605979

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 09/22/14 02:52:47 PM GMT-04:00

Deployment Info

• Full Series Name: Coupler Detached

• Launch Name: BT_TCBOTB_1908

• Deployment Number: 12

• Launch Time: 08/19/19 03:21:21 PM GMT-04:00

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.51 Volts

Series Statistics

• Samples: 1

• First Sample Time: 08/22/19 09:00:00 AM GMT-04:00

• Last Sample Time: 08/22/19 09:00:00 AM GMT-04:00

Event Type: End Of File

Devices

Device Info

• Product: HOBO U22-001 Water Temp

• Serial Number: 10605979

• Version Number: 1.06

• Manufacturer: Onset Computer Corporation

• Device Memory: 65536

• Header Created: 09/22/14 02:52:47 PM GMT-04:00

Deployment Info

• Full Series Name: End Of File

• Launch Name: BT_TCBOTB_1908

• Deployment Number: 12

• Launch Time: 08/19/19 03:21:21 PM GMT-04:00

• Launch GMT Offset: -4 Hr 0 Min

• Battery at Launch: 3.51 Volts

Series Statistics

• Samples: 1

• First Sample Time: 11/16/20 10:45:00 PM GMT-04:00

• Last Sample Time: 11/16/20 10:45:00 PM GMT-04:00